## Sheet1
AndersonAlternative.com
Off Grid Energy Systems - Load Estimate
Modify the example loads to meet your particular circumstances, including types, locations, and amount of time in use. Entering a value into the "minutes" field automatically converts the "hours" field. Entering a voltage and amperate automatically calcluates the wattage. Choose which total kWh column each load belongs in to create the appropriate summary split to the right.
[8 empty] | Utilities | Appliances | Lighting | Electronics
Room | Load | # | minutes | hours | V | A | W | kWh | kWh | kWh | kWh |  | kWh/day
Kitchen | Recessed lights | 4 | 90 | 1.5 | 120 | 0.1083 | 12.996 |  |  | 0.077976 |  | Utilities | 16.769 | 52.79% | Heating, ventilation, air conditioning, and water
| Under cabinet lights | 6 | 480 | 8 | 120 | 0.05 | 6 |  |  | 0.288 |  | Appliances | 7.798 | 24.55% | Cooking, refrigeration, disposal, dish & clothes washing
| Dishwasher | 1 | 30 | 0.5 | 120 | 9 | 1080 |  | 0.54 |  |  | Lighting | 1.4413 | 4.537% | All forms if ambient and task lighting
| Refrigerator | 1 | 720 | 12 | 120 | 1.25 | 150 |  | 1.8 |  |  | Electronics | 5.7564 | 18.12% | Computers, audio, televisions, gaming, communication
| Toaster Oven | 1 | 10 | 0.16667 | 120 | 12.5 | 1500 |  | 0.25 |  |  | TOTAL | 31.7647 | 100%
| Microwave | 1 | 30 | 0.5 | 120 | 12.5 | 1500 |  | 0.75
| Electric Range | 1 | 45 | 0.75 | 120 | 16 | 1920 |  | 1.44
| Electric Oven | 1 | 60 | 1 | 120 | 25 | 3000 |  | 3
| LCD/DVD TV | 1 | 60 | 1 | 120 | 1.25 | 150 |  |  |  | 0.15
Utility | Ceiling light | 1 | 1 | 0.016667 | 120 | 0.1083 | 12.996 |  |  | 0.0002166
| Water Pump | 1 | 10 | 0.16667 | 120 | 25 | 3000 | 0.5
| Septic Pump | 1 | 10 | 0.16667 | 120 | 12 | 1440 | 0.24
| Zone Heating Pumps | 5 | 180 | 3 | 120 | 0.42 | 50.4 | 0.756
| Central Air | 1 | 480 | 8 | 120 | 15 | 1800 | 14.4
Living Room | Recessed lights | 8 | 180 | 3 | 120 | 0.025 | 3 |  |  | 0.072
| Projector | 1 | 120 | 2 | 120 | 1.5 | 180 |  |  |  | 0.36
| DSS Satellite Dish | 1 | 1440 | 24 | 120 | 0.5 | 60 |  |  |  | 1.44
| DVR | 1 | 1440 | 24 | 120 | 0.75 | 90 |  |  |  | 2.16
| Speakers | 4 | 120 | 2 | 120 | 1 | 120 |  |  |  | 0.96
Bath Room #1 | Ceiling light | 1 | 90 | 1.5 | 120 | 0.1083 | 12.996 |  |  | 0.019494
| Mirror light | 8 | 90 | 1.5 | 120 | 0.5 | 60 |  |  | 0.72
| Ventilator Fan | 1 | 1440 | 24 | 120 | 0.15 | 18 | 0.432
Bath Room #2 | Ceiling light | 1 | 30 | 0.5 | 120 | 0.1083 | 12.996 |  |  | 0.006498
| Mirror light | 4 | 30 | 0.5 | 120 | 0.5 | 60 |  |  | 0.12
| Ventilator Fan | 1 | 1440 | 24 | 120 | 0.15 | 18 | 0.432
Bath Room #3 | Ceiling light | 1 | 30 | 0.5 | 120 | 0.1083 | 12.996 |  |  | 0.006498
| Mirror light | 2 | 30 | 0.5 | 120 | 0.5 | 60 |  |  | 0.06
| Ventilator Fan | 1 | 30 | 0.5 | 120 | 0.15 | 18 | 0.009
Master Bedroom | Overhead lights | 3 | 30 | 0.5 | 120 | 0.025 | 3 |  |  | 0.0045
| Side lamps | 2 | 60 | 1 | 120 | 0.05 | 6 |  |  | 0.012
| Alarm clock | 1 | 1440 | 24 | 120 | 0.01 | 1.2 |  |  |  | 0.0288
| LCD TV | 1 | 60 | 1 | 120 | 1.65 | 198 |  |  |  | 0.198
Bedroom #2 | Overhead lights | 3 | 15 | 0.25 | 120 | 0.025 | 3 |  |  | 0.00225
| Side lamps | 2 | 90 | 1.5 | 120 | 0.05 | 6 |  |  | 0.018
| Alarm clock | 1 | 1440 | 24 | 120 | 0.01 | 1.2 |  |  |  | 0.0288
| Laptop | 1 | 120 | 2 | 120 | 0.85 | 102 |  |  |  | 0.204
Bedroom #3 | Overhead lights | 3 | 30 | 0.5 | 120 | 0.025 | 3 |  |  | 0.0045
| Side lamps | 2 | 60 | 1 | 120 | 0.05 | 6 |  |  | 0.012
| Alarm clock | 1 | 1440 | 24 | 120 | 0.01 | 1.2 |  |  |  | 0.0288
| LCD TV | 1 | 60 | 1 | 120 | 1.65 | 198 |  |  |  | 0.198
Garage | Ceiling lights | 4 | 20 | 0.33333 | 120 | 0.1083 | 12.996 |  |  | 0.017328
| Garage Door Openers | 2 | 3 | 0.05 | 120 | 1.5 | 180 |  | 0.018